## Slide 1: Area wide optimization Program

## Slide 2: overview
What is AWOP?
AWOP in Oklahoma
Regions
Recent Workshop
CPEs
Awards
Contact Info

## Slide 3: What is awop?
Began in 1989
Goal was to optimize water systems in order to maximize public health protection
Initial focus was Turbidity and Disinfection By-Products (DBPs)
Now focuses on:
  Turbidity
  DBPs
  Chlorine residual
  Corrosion control
  Ground water wells and treatment techniques
  Distribution systems and storage tank integrity
  Harmful Algae Blooms (HABs)
  Manganese control
  Nitrification

## Slide 4: Awop in oklahoma
Ongoing since 1999
Began with an emphasis on CPE training
Strong history of management support
Voluntary “extra” role for staff
Not enforcement

## Slide 5: AWOP Regions

## Slide 6: Turbidity workshop
Group 1
Reviewed sampling locations for raw, settled, IFE and CFE turbidity
Calculated detention times
Group 2
Maintenance frequency & SCADA
Group 3
Interpreting & Reporting Turbidity Data
Group 4
Benchtop vs. Continuous Turbidimeter Monitoring

## Slide 7: Findings
Two locations had longer than 1 minute detention times
Raw samples from settled troughs instead of top of clarifier
Have access turbidimeter settings
Data capping at 1 NTU
Omit backwash events in SCADA system
Purchase vial cleaning gel to remove fingerprints
Purchase turbidity standards
Calibrate benchtops regularly

## Slide 8: Comprehensive performance evaluation (CPE)
Sanitary Survey
Focuses on performance limiting factors
  Financial
  Organizational
  Operational
How system treats water
Usually triggered by high turbidity
Centers around filtration

## Slide 9: AWOP AWARDS
Encourages optimization by recognizing Public Water Supply Systems participating in the AWOP AWARDS Program

## Slide 10: AWOP AWARDS Participation
Optional to participate
Start collecting data for awards beginning January 2019
If interested, stay after the presentation to provide contact information to be placed on the participation list
DEQ will schedule a meeting with you at your water system to explain the process and go over forms to be submitted

## Slide 11: Who can participate?
Any Oklahoma Public Water Supply System
Awards divided into 3 categories
  Surface Water/Groundwater under the direct influence of surface water (SW/GWUDI)
  Groundwater (GW)
  Purchase water (PW)

## Slide 12: How are awards determined?
Criteria with various point values to be applied to each water system
Scores for each participating system will be determined on an annual basis
Example criteria:
  Turbidity, IFE and CFE (SW/GWUDI)
  Monitoring
  Capacity Development Assessment
  Water Loss Audit
  MCL violations
  And a few more

## Slide 13: The awards
Flag for top system in each category
Participation certificates for all participants
Special Certificate for top system in each category (SW/GWUDI, GW, and PW)
Top systems recognized (websites, newsletters, newspaper, etc.)
The proud feeling knowing that your water system is the most optimized in the state of Oklahoma!!

## Slide 14: interested???
Workshop Team Leads
Siobhan Gibbons
  (405)702-8155
  siobhan.gibbons@deq.ok.gov
Andrew Shaw, E.I.
  (405)702-8244
  andrew.shaw@deq.ok.gov
AWOP Coordinator
Candy Thompson, P.E.
  (405)702-8233
  candy.thompson@deq.ok.gov
CPE Team Lead
Tara Bussing
  (405) 702-8189
  tara.bussing@deq.ok.gov

## Slide 15: conclusion
What is AWOP?
AWOP in Oklahoma
Regions
Recent Workshop
CPEs
Awards
Contact Info

## Slide 16: Questions???